## Slide 1
Indoor Air Quality (IAQ), Health, and Legal Liability
- HVAC Implications Since COVID-19
Webinar – Windsor/London, Ontario – 10/20/20
Jim Newman, CEM, LEED AP+, ASHRAE OPMP & BEAP, FESD, FASHRAE

## Slide 2
        James L. Newman, CEM, LEED AP+, ASHRAE OPMP & BEAP, FESD, FASHRAE
        ASHRAE
          Co-Chair, IAQ Subcommittee for new Chapter on Climate Change in 2021 Handbook of Fundamentals
          Member, COVID-19 Task Force (Local)
          Distinguished Lecturer since 2010
          Former Member, now Corresponding Member, Air-to-Air Energy Recovery Technical Committee (TC), Operations and Maintenance TC
          Past Vice-Chair, Industrial Air Conditioning TC
          Member, Energy Position Committee, 2008
          Past Board Member (Local)
        BUILDING OWNERS & MANAGERS ASSOCIATION (BOMA)
          Immediate Past Chair, Sustainability for Savings Committee (Local)
          Trainer, High Performing Building Certification
        ENGINEERING SOCIETY OF DETROIT (ESD)
          Past Chair, Council of Affiliated Organizations
        U.S. GREEN BUILDING COUNCIL (USGBC)
          Founding Member, Detroit Regional Chapter
          Past Chair, Public Policy/Advocacy Committee (Local)
          Past Board Member (Local)
        AMERICAN INSTITUTE OF ARCHITECTS (AIA)
          Member, Committee on the Environment (COTE)
        URBAN LAND INSTITUTE (ULI)
          Member, Technology and Real Estate Council
Notes: 2

## Slide 3: Poor IAQ Can Have Many Origins – Some Indoor, Some Outdoor

## Slide 4: 350 Building IAQ Study by NIOSH – Problem Buildings
50% - Ventilation Problems
28% - Specific Indoor Contaminant
11% - Specific Outdoor Contaminant
11% - ???
Solving IAQ problems in commercial buildings
is not always easy.

## Slide 5: What Happens to HVAC Systems as Time Passes?
Green
Gray

## Slide 6: IAQ Problems
Humidity – too high/too low
Mold or mildew growth due to condensation
  Interior surfaces of walls near thermal bridges
  Carpeting on cold floors
  Locations where humidity promotes condensation
Not enough outdoor/indoor air – or unhealthy OA
Water intrusion – outdoor/indoor

## Slide 7
How to Know if There Are IAQ Problems
Communicate with the people in the building.

## Slide 8: Potential IAQ Problems: HVAC System
A source of biological contaminants
Surface Contamination by molds, bacteria, viruses
Interior ductwork
Odors

## Slide 9: Potential IAQ Problems: HVAC Unit
Drain Pans
Improper Damper Operation
Air Filters
Coils
Surface Contamination

## Slide 10: Poorly Maintained Dampers

## Slide 11: Poor (or No) Filter Maintenance

## Slide 12: Poor Filter Maintenance Goes To Worse – This Is What Happens

## Slide 13: Improper Filter Installation or Replacement

## Slide 14: IAQ Problems – HVAC Filters

## Slide 15: Liability/Litigation
Building Owners
Architects & Engineers
Building Contractors & Suppliers
Building Management, Maintenance Personnel
Real Estate Brokers
Landlords & Tenants
Employers
Who is Blamed for Poor IAQ?

## Slide 16: What To Do With an IAQ Problem – Real or Perceived
Respond Immediately!!
  If you don’t, 1 goes to 2, 2 goes to 4, etc., until you have “Mass Psychogenic Illness”
  Remember, “Perception Is Reality” to the person with the perception
Identify Problem (if there is one)
Make Necessary Corrections as Needed

## Slide 17: When Should Owner Seek Outside Assistance for IAQ Mitigation?
Cannot identify the problem
Mitigation efforts have been unsuccessful
Air sampling is required
Mistakes or delays could be serious
Management feels that an independent investigation is more credible

## Slide 18: Coronavirus & COVID-19
Concerns
HVAC
Relative Humidity
Filtration

## Slide 19: COVID-19 Concerns
What are the facts? We’re still learning!
  “Social” Distancing – Really “Physical” Distancing
    6’ not enough
    Aerosols, droplets, etc. – Breathe, Speak, Sing, Yell, Cough, Sneeze: 4’-20’
  Face Masks
    Yes? Why, When
    No? Why, When
  Symptomatic vs. Asymptomatic
    14 days?
    28 days?
  Vaccine
    When?

## Slide 20: How COVID-19 Spreads
Directly through aerosols
  Infected people breathing, coughing, sneezing
  Touching an infected person’s hand or face
Indirect Contact
  Touching surfaces like doorknobs, elevator buttons, railings, handles, etc. then touching your eyes, nose or mouth

## Slide 21: Requirements – HVAC (1)
Flush with Outside Air
-100%? Or less?
Filtration
Other Methods
Humidification
  – 40-60% Relative Humidity (RH)

## Slide 22: Requirements – HVAC (2)
Filtration
  MERV 13,14 Filters (Minimum Efficiency Reporting Value)
  HEPA filters (High Efficiency Particulate Air)
  Polarized Media Air Cleaners
  Carbon filters
  Ultraviolet
    UV-C (Germicidal Ultraviolet)
  Ionization
    Needle Point
    PCO (Photo Catalytic Oxidation)
    Bi-Polar (BPI)

## Slide 24: Bi-Polar Ionization (BPI)
5. CLEAN AIR WITHIN A SPACE

## Slide 25: Germicidal UltraViolet (GUV)

## Slide 26: IAQ Problem: Winter Humidity As Low As 15% In Many Buildings!
Chart: 
| Optimum | Winter
Humidity % | 50 | 15

## Slide 27
Greater aerosol transmission
Increased survival and virulence of pathogens
Evasion from surface cleaning through resuspension
Pathogen infectivity is high when RH < 40%
Pathogen Transmission
From Dr. Stephanie Taylor, M.D., M. Arch., CIC

## Slide 29
100
10
3
0.5
1
41 hours – 21 days
6 seconds
1.5 hours
Droplet diameter in microns (um)
Float time
10m+
1m
Distance travelled:
Infectious droplets shrink, travel far and evade surface cleaning when the air is dry. (Taylor)
Infectious Droplets

## Slide 30: With healthy RH of 40%–60%, infectious droplets settle out of the airborne environment. (Taylor)
Disinfection benefits of proper air hydration:
    Bedrails and other frequently touched surfaces cleaned more effectively
    Hand hygiene is maintained
    Settled infectious droplets are not re-suspended
Role of Relative Humidity

## Slide 31: Resources
Pandemic Resources: NewmanConsultingGroup.us/web-sites
Government & Industry Resources:
AIA Committee on the Environment - www.aia.org
ASHRAE - www.ashrae.org/covid19
Building Owners &Managers Association - www.boma.org
CDC – Indoor Environmental Quality - www.cdc.gov/niosh
EPA – Indoor Air Quality - www.epa.gov
IAQA – Indoor Air Quality Association - www.iaqa.org
US Green Building Council - www.usgbc.org
World Green Building Council - www.wgbc.org

## Slide 32: Liability/Litigation
Building Owners
Architects & Engineers
Building Contractors & Suppliers
Building Management, Maintenance Personnel
Real Estate Brokers
Landlords & Tenants
Employers
Who is Blamed for Poor IAQ?

## Slide 33: “The greatest challenge we face today is failure to adapt to change” Tim Wentz, ASHRAE President, 2016-17
For Further Information:
James L. (Jim) Newman
JimN@NewmanConsultingGroup.us
www.newmanconsultinggroup.us
+1-248-626-4910